COMMITTEE MEETING 21 MAY 2024

The committee met after the fire incident on the 12th floor.

It was decided:

1.	To assess whether we can install a smoke detector in each room connected to the central fire control system.

2.	Or to require every apartment to have a smoke detector ( 1 per bedroom) at the owners' expense. We propose to buy smoke alarms so make it simple for owners to buy them from the office and our technicians will install for free.

3.	At the next General Meeting, we will propose that every apartment must have an electrical inspection. If the circuit board is old and does not have modern RCBO breakers or parts of the electrical system are unsafe,  the owner must upgrade it at his/her expense.

4.	To put signs forbidding gas cylinders inside the building with a fine of 250,000 baht.

5.	To put a sign reminding residents to use the fire escape staircases protected by the fire doors NOT the open central staircase in the event of fire.

6.	To install a booster pump on the roof to pressurize the water to floors 11 through 15. This will boost water pressure to these floors.  This will assist fire fighting and should mean that owners no longer require water pumps.

7.	Consider buying 3 sets of breathing equipment.

8.	Add more alarm bells to each floor. Originally there were 4. A few years ago we upgraded to 6. Now we propose 10 per floor.

9.	We added special fire points with big CO2 extinguishers on floors 1 and 9 some years ago. We propose to add 3 more.

10.	Give security a megaphone system so that they can communicate if there really is a fire and the location.